VGG19 Transfer Learning for Leukemia Classification:

A Comparative Study of Original vs. Segmented Blood Cell Images

Prachi Singla, Punal and Ojasva Raghava

Chitkara University of Engineering and Technology, Rajpura, Punjab

Submitted: April 2026

# Abstract

Leukemia is a life-threatening hematological blood cancer disease that needs fast and accurate diagnosis to enhance patient health and give adequate care. Pathologists manually examine microscopic analysis of blood smears by pathologists is inherently time-consuming, subjective, and susceptible to inter-observer inconsistencies. This study proposes a deep learning framework based on VGG19 transfer learning for binary of leukemia classification (Cancerous vs. Benign) from 3,256 microscopic blood cell images. A controlled experiment design compares Original (unprocessed) and Segmented (background-removed) image types under identical 3-fold stratified cross-validation conditions. The Original (Proposed) variant achieved superior sensitivity of 98.69%, accuracy of 97.39%, AUC-ROC of 0.9940 and F1 score of 0.9846. These results  outperformed the Segmented variant on all cancer-detection-critical metrics. As per study 98.69% of sensitivity represents the highest reported, rigorously validated sensitivity scores in the comparable leukemia classification study. These study results demonstrate that contextual morphological information blood smear images provides valuable features effectively by VGG19's and effectively utilized by the ImageNet-pretrained by VGG19.

Overall, the study demonstrated strong potential for clinical deployment as an initial screening system for detection of leukemia.

Keywords: Leukemia diagnosis, VGG19, transfer learning, deep learning, blood cell classification, image segmentation, k-fold cross-validation, sensitivity, medical imaging.

# 1. Introduction

Leukemia refers to blood cancer type that is characterised by the abnormal and uncontrolled production of impaired white blood cells in the bone marrow and blood circulation in the body. It remains a significant global health concern, with millions of new cases reportedly annually. Among its various types, Acute Lymphoblastic Leukemia (ALL) is especially found in young infants and children, accounting for the major detection of pediatric leukemia. The clinical outcomes in leukemia are highly dependent on how early the disease is diagonised, as it plays a crucial role in speeding up the improvement of survival rates and treatment effectiveness.

Traditional, leukemia diagnosis is relied based on manual microscopic examination of blood smears and bone marrow samples by experienced haematologists. Although its widely practiced, this method is labour-intensive, more time-consuming, and subject to variability between physicians. Such limitations become more critical in regions with limited access to skilled medical professionals. As a study results, there is a growing need for automated systems that can assist in delivering better, fast and reliable diagnosis results.

In recent years, deep learning techniques – particularly Convulational Neural Networks (CNNs) – have represented strong potential in medical image analysis. Transfer learning, which includes adapting models pre-trained on high and large-scales datasets to specific medical problems, has proven especially effective when the availability of data is limited. VGG-19 is one such architecture designed in such a way that demonstrates better and strong performance due to its depth and ability to capture both fine details and structural pattern in images globally. These properties make it well-suited for analyzing the anatomy characteristics of blood cells.

Despite the growth and progress in this domain, an important question remains insufficiently explored: whether preprocessing techniques such as the image segmentations actually improves and enhance the model performance in leukemia classification. While segmentation targets to isolate the region of interest by removing background information, it may also terminate contextual cues that are beneficial for models trained on natural image datasets. This study investigates this trade-off by conducting a controlled comparison between Original images(unprocessed) and Segmented images(background-removed).

Another critical issue in existing researches do not emphasis on sensitivity, which measures the model’s ability to correctly identify positive(cancerous) cases. In medical screening, sensitivity is far more important than overall accuracy because missing on any of the positive case can have severe effect on clinical detections. However, many researches and studies focus primarily on accuracy while neglecting sensitivity, thereby reducing their practical application in real-world healthcare scenario.

To address the these neglected gaps, this study makes the following contributions:

- The development of a robust leukemia diagnosis and its classification framework  using VGG19 with stratified 3-fold cross-validation and complete out-of-fold evaluation.

- A direct comparison of Original(unprocessed) and Segmented(background-removed) image preprocessing under identical experimental settings.

- Prioritization of sensitivity as the key evaluation parameter from a clinical perspective.

- Critical analysis of existing study that lacks proper sensitivity reporting.

- Providing clear insights into the role of preprocessing strategies in the transfer learning-based leukemia detecting systems.

# 2. Related Work

## 2.1 Deep Learning for Leukemia Detection

The use of convolutional neural networks for leukemia detection has grown substantially over the past five years. Recent comparative work by Talaat and Gamel (2024) evaluated architectures such as VGG16, VGG19, and Xception on the C-NMC leukemia dataset, finding that VGG19 delivered strong generalisation with appropriate regularisation. In another study, an enhanced  VGG19 model integrated with Convolutional Block Attention Model (CBAM) achieved an accuracy of 98.73% for Acute Lymphoblastic Leukemia(ALL) classification using K-fold cross validation. This highlights the potential of mechanisms to enhance and improve baseline CNN performance; however the absence of sensitivity metrics limits its critical interpretability.

Jawahar et al.(2024) study proposed a DDRNet architecture combines deep residual dilated blocks and reported perfect accuracy on Kaggle-based leukemia dataset. While the results were promising but datasets should be cautious to avoiding overfitting, which is usually achieved when models are trained and evaluated on small or homogeneous datasets without reporting clinically relevant metrics like sensitivity.

Across the border benchmarking studies, VGG19 consistently ranks among the best performing models for binary leukemia classification, basically due to achieving effective results in subtle morphological and texture variations in the cancerous cell nuclei. A comprehensive review by Alzubaidi et al.(2025), covering 30 studies , identified key challenges in this domain, including the limited set of dataset , class imbalance and insufficient model interpretability.

## 2.2 Class Imbalance in Medical Imaging

## Class imbalance is a widespread issue in medical datasets. In our dataset, there are 5.5 times as many cancerous samples as benign ones, which makes standard accuracy metrics not very useful. With this imbalance ratio, a classifier that calls every sample cancerous is 84.5% accurate but is not useful in the clinic. Studies on imbalanced leukemia classification indicate that loss-based reweighting methods consistently surpass GAN-based data augmentation and input-level oversampling in scenarios of high imbalance [10]. This study employs class-weighted binary cross-entropy loss, with weights determined using sklearn's compute_class_weight function (Cancerous: 0.59, Benign: 3.23).

## 2.3 The Role of Segmentation in Medical Image Classification

Background removal and cell segmentation have been widely adopted as preprocessing steps in blood cell analysis. U-Net-based segmentation pipelines combined with transfer learning have shown strong results in skin cancer and brain tumour classification tasks. However, for ImageNet-pretrained transfer learning, stripping the background may counterproductively remove contextual cues that the pre-trained convolutional filters were trained to exploit. To the b3est of our knowledge, this trade-off has not been directly quantified for VGG19 on a leukemia blood cell dataset — a gap this study addresses.

# 3. Dataset and Preprocessing

## 3.1 Dataset Description

The dataset used is the publicly available Leukemia Cancer Disease Dataset from Kaggle (prachiiisingla/leukemia). It contains 3,256 microscopic blood cell images organised into two top-level variants: Original (unprocessed images with natural background) and Segmented (background-removed images isolating the blood cell). Each variant contains four class subdirectories: Early, Pre, and Pro (all cancerous subtypes of ALL) and Benign (healthy cells). For binary classification, all three cancerous subtypes were merged into a single Cancerous label, yielding 2,752 cancerous samples and 504 benign samples — a class imbalance ratio of 5.5:1.

All images were resized to 224×224 pixels, the standard input resolution for ImageNet-pretrained VGG19. Pixel values were normalised to [0, 1] via division by 255. No separate test set was held out; instead, 3-fold stratified cross-validation with out-of-fold (OOF) evaluation was used, ensuring every sample was predicted exactly once by a model that had never seen it during training.

## 3.2 Data Augmentation

To improve generalisation and mitigate minority class overfitting, online data augmentation was applied during training via Keras Image Data Generator with the following transformations:

- Horizontal and vertical flips

- Rotation range: 180 degrees

- Width/height shift: 10%

- Zoom range: 15%

- Brightness range: [0.85, 1.15]

- Channel shift: 10.0

- Fill mode: reflect

No augmentation was applied during validation or OOF prediction. These transformations reflect realistic variations in microscopy image acquisition while avoiding biologically implausible distortions.

# 4. Methodology

## 4.1 Model Architecture

VGG19 (Simonyan & Zisserman, 2014) was used as the backbone feature extractor. The pretrained ImageNet weights were loaded and the entire convolutional base was frozen during training (20,026,432 frozen parameters), preventing overwriting of rich feature representations learned from 1.2 million natural images. A custom classification head was appended comprising:

- Global Average Pooling 2D

- Batch Normalization

- Dense layer: 512 units, ReLU activation, L2 regularisation (λ=1e-4)

- Dropout (rate=0.5)

- Batch Normalization

- Dense layer: 256 units, ReLU, L2 regularisation

- Dropout (rate=0.30)

- Dense layer: 128 units, ReLU, L2 regularisation

- Dropout (rate=0.20)

- Output: Dense (1 unit, sigmoid activation)

Total parameters: 20,455,489, Trainable (head only): 429,057 Frozen (backbone): 20,026,432

## 4.2 Training Configuration

The model was compiled with the Adam optimiser at initial learning rate 1e-3 and class-weighted binary cross-entropy loss. Three callbacks were used:

- Early Stopping: monitoring validation loss (patience=5, restoring best weights, min_delta =0.001)

- Reduce LR On Plateau: reducing learning rate by factor 0.5 on plateau (patience=2, min_lr =1e-7)

- Model Checkpoint: saving best checkpoint per fold based on validation accuracy

Batch size: 64. Maximum epochs: 15. GPU: dual-GPU configuration (2× NVIDIA).

## 4.3 Cross-Validation and Evaluation

# A 3-fold Stratified K-Fold cross-validation strategy was given to preserve the inherent class distribution ratio of 5.5:1 across all folds. Stratification is essential in imbalanced classification tasks, as non- stratified splits can lead to uneven class distributions, thereby giving partial performance evaluation. Predictions that were not in the fold were combined across all three folds to make a complete OOF prediction array that covered all 3,256 images.

# To achieve the optimal decision threshold, Youden's J statistic (J = Sensitivity + Specificity − 1) was utilized to find the best classification threshold. This approach provides optimized results that many published studies don't include in their study. We used OOF predictions to figure out full evaluation metrics like Accuracy, AUC-ROC, Average Precision, Sensitivity, Specificity, and F1 Score.

# 5. Results

## 5.1 Performance Comparison: Proposed (Original) vs. Segmented

Table 1 presents the comparative performance metrics for VGG19 trained on Proposed (Original) versus Segmented image variants, evaluated on the full out-of-fold prediction set of 3,256 images. Table 1. Performance Comparison — Proposed (Original) vs. Segmented (3-fold OOF evaluation, n=3,256)

| Metric | Proposed (Original) | Segmented | Delta | Clinical Importance |
| --- | --- | --- | --- | --- |
| Accuracy | 97.39% ± 0.16% | 96.41% ± 1.17% | +0.98% | Overall correctness — Proposed wins |
| Sensitivity ★ | 98.69% | 96.44% | +2.25% | Cancer recall — CRITICAL — Proposed wins by 2.25 pp |
| Specificity | 90.28% | 96.23% | −5.95% | Healthy recall — Segmented wins (at cost of sensitivity) |
| AUC-ROC | 0.9940 | 0.9937 | +0.0003 | Discrimination ability — Proposed wins |
| F1 Score | 0.9846 | 0.9784 | +0.0062 | Precision-recall balance — Proposed wins |

★ Sensitivity highlighted as the primary clinically critical metric. Green values indicate Proposed study advantage.

The Proposed image variant did better than the Segmented variant in terms of accuracy of 0.98%, sensitivity of 2.25%, AUC-ROC and F1 score. The Segmented variant had a higher specificity of +5.95%, which means that removing the background makes the model better at correctly identifying healthy patients, but it also means that it misses more cancerous cases. For leukemia screening, false negatives (missed cancers) pose significantly higher clinical risk: at 96.44% sensitivity,

## 5.2 Per-Fold Stability

Table 2. Per-Fold Results — Original and Segmented Datasets

| Dataset | Fold | Accuracy | AUC-ROC | Recall | Precision | F1 |
| --- | --- | --- | --- | --- | --- | --- |
| Original | 1 | 97.79% | 0.9939 | 98.80% | 98.59% | 0.9869 |
| Original | 2 | 96.50% | 0.9970 | 95.97% | 99.89% | 0.9789 |
| Original | 3 | 94.93% | 0.9903 | 94.55% | 99.43% | 0.9693 |
| Original Mean | — | 96.41% | 0.9937 | 96.44% | 99.30% | 0.9784 |
| Proposed | 1 | 97.61% | 0.9902 | 99.46% | 97.75% | 0.9860 |
| Proposed | 2 | 97.24% | 0.9957 | 97.49% | 99.22% | 0.9835 |
| Proposed | 3 | 97.33% | 0.9961 | 99.13% | 97.74% | 0.9843 |
| Proposed Mean | — | 97.39% | 0.9940 | 98.69% | 98.24% | 0.9846 |

# In binary classification for cancer screening, the two types of errors have very different effects on patient’s health. A false positive means that a healthy patient has to have another blood test or see a doctor, which can take days. A false negative tells a leukemia patient that they are healthy and can go home. The effects happen over weeks and months: the disease gets worse, treatment starts later, and the chances of survival go down. This imbalance makes accuracy an inadequate primary metric in situations of class imbalance, while sensitivity remains the sole figure impervious to majority-class bias. The 98.69% sensitivity of the proposed pipeline, which was achieved through Youden's J threshold optimization (a clinical calibration), directly addresses this priority.

# 6. Discussion

## 6.1 Why Proposed (Original) Images Outperform Segmented

The superior performance of Proposed images on all cancer-detection metrics is a non-trivial finding warranting mechanistic explanation. VGG19 was pre-trained on ImageNet — a dataset of natural photographs where objects are embedded in rich contextual backgrounds. When the background is removed during segmentation, two categories of information are eliminated: (i) direct visual features of the background staining, which may correlate with cell type in Romanowsky-stained preparations, and (ii) spatial context cues such as nuclear-to-cytoplasm ratios relative to adjacent cells and the overall staining density of the smear. Both categories appear to carry discriminative signal that the model implicitly exploits when processing Original images.

## 6.2 Sensitivity as the Clinical Priority: The Asymmetry of Errors

In binary classification for cancer screening, the consequences of two types of classification errors carry radically unequal fundamentals. A false positive may cause a healthy patient for a repeat blood test or clinical consultations — that lead to an inconvenience measured in days. Whereas a false negative can be more severe, as it may falsely reassure a patient with leukemia, delaying treatment and potentially lowering the surviving rate. This asymmetry progress to an insufficient primary metric under class imbalance, and makes sensitivity the one figure that cannot be gamed by majority-class bias. The proposed pipeline addresses this priority by achieving a sensitivity of 98.69%, obtained through Youden’s J-based threshold statistic. This method ensures that model calibration aligns with clinical objectives, prioritizing the detection of true positive cases while managing a balanced trade-off with specificity.

## 6.3 The Sensitivity Gap in Competing Literature

## A review of closely related studies uncovers a notable trend that the most either do not report sensitivity entirely or do so under conditions that limit fair comparison. For example, Rahman et al. (2026) attain 98.73% of accuracy using a CBAM-VGG19 but still failed to report sensitivity, making it unclear whether the attention mechanism improves or diminishes cancer recall in comparison to the proposed study. Similarly, Talaat and Gamel (2024) do not report sensitivity and use a fixed train-test split instead of cross-validation. Jawahar et al. (2024) achieves 100% accuracy, which is a strong sign of overfitting while failing to report sensitivity or use cross-validation. Among the reviewed works, Cheng et al. (2024) reported the only directly comparable sensitivity figure, which was 96.1%. The Proposed study did better by improvement of +2.59 and underscoring its superior performance in clinically meaningful cancer detection.

## 6.4 Comparison with Prior Work

Table 3. Comparative Analysis with Leukemia Classification Methods

| Study | Architecture | Dataset | Validation | Sensitivity | Accuracy | Note |
| --- | --- | --- | --- | --- | --- | --- |
| Proposed ★ | VGG19 | Kaggle Leukemia n=3,256 | 3-Fold Cross-Validation | 98.69% | 97.39% ± 0.16% | Best sensitivity with lowest variance and clinically robust |
| Rahman et al. (2026) | CBAM-VGG19 | ALL dataset | K-Fold Cross Validation | Not reported | 98.73% | No clinical claim possible |
| Jawahar et al. (2024) | DDRNet | Kaggle Leukemia | Small held-out Set | Not reported | 100%* | Overfitting risk and No clinical reliablility |
| Talaat & Gamel (2024) | VGG19/Xception | C-NMC Leukemia | Train-test split | Not reported | ~97% | No cross validation; sensitivity not reported |
| Cheng et al. (2024) | ResNet-50 | Flow cytometry | 5-Fold Cross- Validation | 96.10% | 95.8% | Only study reporting sensitivity; outperformed by +2.59 pp |

* Jawahar et al. (2024) 100% on a small held-out set carries elevated overfitting risk and cannot substitute for full OOF cross-validation.

## 6.5 Gap Analysis

Table 4. Gap Analysis: How the Proposed Study's 98.69% Sensitivity Challenges Prior Work

| Gap / Weakness | Studies Affected | How Proposed Study Addresses It | Implication |
| --- | --- | --- | --- |
| Sensitivity not reported | Rahman (2026); Talaat & Gamel (2024); Jawahar (2024) | Full OOF sensitivity reported: 98.69% | Models cannot claim clinical utility without sensitivity |
| Non-OOF validation | Jawahar et al. (2024) | 3-Fold OOF on all 3,256 samples — zero data leakage | OOF validation ensures gold standard for unbiased evaluation |
| Preprocessing not ablated | All compared studies | Head-to-head Original vs. Segmented under identical conditions | Segmentation reduces sensitivity by 2.25 pp — empirical benchmark |
| Class imbalance unaddressed | Jawahar (2024); Talaat & Gamel (2024) | Class-weighted loss + stratified K-Fold | Unweighted accuracy is misleading at 5.5:1 imbalance scenario and improves minority class detection. |

# 7. Limitations

# Several limitations are a few problems with this study that should be noted. First, the dataset comes from single institution, so it can't be used to make generalizations about blood smears images made with different staining protocols, imaging conditions, or scanner hardware. Secondary, the binary classification framework groups three distinct ALL subtypes (Early, Pre, and Pro) into one class. This is a clinically significant problem that is not addressed here. Third, no explainability analysis (e.g., Grad-CAM visualizations) was conducted; such an analysis would directly corroborate the hypothesis that background context is the origin of the performance advantage of Proposed images. Finally, the class imbalance (5.5:1) is still significant. Class weighting helps with this during training, but future research should explore targeted data augmentation methods that are specifically designed to aim better representation of the minority class.

# 8. Conclusion and Future Work

# This study presents a robust VGG19-based learning framework for leukemia classification, rigorously evaluated using 3-fold stratified cross-validation with complete out-of-fold(OOF) coverage areas across 3,256 blood cell images. The pipeline using original (unprocessed) images achieves superior performance, with an accuracy of 97.39% , AUC-ROC of 0.9940, sensitivity of 98.69% and F1 score of 0.9846, consistently outperforming the segmented-image variant across all clinically critical metrics.

# The analysis of limitations of previous work are clear: sensitivity must be consistently reported, models should be validated using full out-of-fold (OOF) data, preprocessing strategies that need proper comparison, and class imbalance must be read and worked upon before making any clinical claims in leukemia screening performance.

# Future focus will be on improving both performance and reliability. This involves integrating CBAM mechanisms into the VGG19 model to close the gap with state-of-the- art approaches, while ensuring that sensitivity is not compromised. Additionally, explainability methods like Grad-CAM will be employed to understand and visualize the regions of the images are influencing the model decisions, helping confirm whether background context contribution to performance improvements.

# Furthermore, the framework will also expand to multi-class classification, distinguishing between Early, Pre, Pro, and Benign subtypes, with sensitivity evaluated for each class individually. Finally, the model will be tested on larger, multi-institutional datasets to assess its generalizability in real-world conditions and to verify whether the current 98.69% sensitivity can be maintained under diverse data distributions.

# References

[1] International Agency for Research on Cancer, World Health Organization, 2020.Global Cancer Observatory: GLOBOCAN 2020. World Health Organization.

[2] Hunger, S.P. & Mullighan, C.G. (2015). Acute Lymphoblastic Leukemia in Children. New England Journal of Medicine, 373(16), 1541–1552.

[3] Guo, Y. et al. (2019). Deep learning for visual understanding: A review. Neurocomputing, 187, 27–48.

[4] Simonyan, K. & Zisserman, A. (2014). Very Deep Convolutional Networks for Large-Scale Image Recognition. arXiv:1409.1556.

[5] Talaat, F.M. & Gamel, S.A. (2024). Machine learning in detection and classification of leukemia using C-NMC_Leukemia. Multimedia Tools and Applications, 83, 22343–22362.

[6] Rahman, A. et al. (2026). Improving acute lymphoblastic leukemia diagnosis through CBAM-enhanced VGG19 deep learning. Scientific Reports. https://doi.org/10.1038/s41598-026-40184-4

[7] Jawahar, M. et al. (2024). An attention-based deep learning for acute lymphoblastic leukemia classification. Scientific Reports, 14, 4509.

[8] Alzubaidi, L. et al. (2025). A Review of Deep Learning Techniques for Leukemia Cancer Classification Based on Blood Smear Images. Applied Sciences, 15, 1658.

[9] Alzubaidi, L., et al. (2025). A review of deep learning techniques for leukemia cancer classification based on blood smear images. Applied Sciences, 15, 1658.

[10] Quantifying imbalanced classification methods for leukemia detection. ScienceDirect, 2023.

[11] Advancing patient care with AI: a unified framework for medical image segmentation using transfer learning. PubMed Central (PMC).

[12] Kohavi, R. (1995). A study of cross-validation and bootstrap for accuracy estimation and model selection. IJCAI Proceedings, 14(2), 1137–1145.

[13] Pan, S.J. & Yang, Q. (2010). A Survey on Transfer Learning. EEE Transactions on Knowledge and Data Engineering, 22(10), 1345–1359.

[14] Cheng, B. et al. (2024). Deep learning assists in acute leukemia detection and cell classification via flow cytometry. Scientific Reports, 14, 7521.